|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  | | --- | |  | |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Motor Details: | | |  |  |  |  |  |  |  |  |
|  |  | | | |  |  |  |  |  |  |  |
|  |  | | | |  |  |  |  |  |  |  |
|  |  | | | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  | **Periodical PM Tests** | frequency | date1 | date2 | date3 | date4 | date5 | date6 | date7 | date8 | date9 |
|  | **Service** | **period** | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
|  | Monitoring Water level in Tanks | Daily |  |  |  |  |  |  |  |  |  |
|  | Monitoring Noise & Vibration | Daily |  |  |  |  |  |  |  |  |  |
|  | Monitoring water leakage | Daily |  |  |  |  |  |  |  |  |  |
|  | Pets control service | Monthly |  |  |  |  |  |  |  |  |  |
|  | Check pressure gauges & Pressure Tank | Monthly |  |  |  |  |  |  |  |  |  |
|  | Monitoring Pressure Switch | Monthly |  |  |  |  |  |  |  |  |  |
|  | Check float valve and float switch | Monthly |  |  |  |  |  |  |  |  |  |
|  | Monitoring oil or grease leakage bearing | Monthly |  |  |  |  |  |  |  |  |  |
|  | Monitoring pump parts temp | Monthly |  |  |  |  |  |  |  |  |  |
|  | Clean the pump and pump room | Monthly |  |  |  |  |  |  |  |  |  |
|  | Make sure that motor is matching | Monthly |  |  |  |  |  |  |  |  |  |
|  | Monitoring electrical motor temp | Monthly |  |  |  |  |  |  |  |  |  |
|  | Check operate stand by pump 5 minutes | Monthly |  |  |  |  |  |  |  |  |  |
|  | Check valves throttling position degree | Monthly |  |  |  |  |  |  |  |  |  |
|  | Measure Motor performance | Quarterly |  |  |  |  |  |  |  |  |  |
|  | Measure Pump Performance | Quarterly |  |  |  |  |  |  |  |  |  |
|  | Keep tanks clean | Quarterly |  |  |  |  |  |  |  |  |  |
|  | Check suction & discharge blocked | Quarterly |  |  |  |  |  |  |  |  |  |
|  | System characteristic analysis | Half year |  |  |  |  |  |  |  |  |  |
|  | Perform Fluid analysis, and contents | Yearly |  |  |  |  |  |  |  |  |  |
|  | Greasing Pump | OEM |  |  |  |  |  |  |  |  |  |
|  | When needed Painting Pump base plate | Depends |  |  |  |  |  |  |  |  |  |

**MOTOR Preventive Maintenance**